# IEC 61850 Webinar - Lab Part 3 Submission

When completed, email to Training@TriangleMicroWorks.com

Name:

Company:

Comments:

## Exercise 1: Client/Server Communication and Report Control Blocks

- Report Control Block Discovery:

  - List all Report Control Blocks in Line 1’s Switch Control Unit.

  - Indicate which DataSet contains the position of the breaker.

- Provide a screenshot of the Report Viewer and its contents from Step 3.

- Provide a screenshot of the Report Viewer and its contents from Step 5. You can include all reports in a single screenshot or multiple.

- If the Report Control Block used in this exercise were Unbuffered instead of Buffered, how would the results differ in Step 3 and/or Step 5?

  - Step 3:

  - Step 5:

5. Provide a screenshot of the control configuration performed in Step 8. The screenshot should look as follows:

Exercise 2: GOOSE Messaging – Signal Mapping and Filtering

- Step 2’s Single GOOSE Message Test:

  - Which device(s) in the Signal Flow published a GOOSE message when Line 1’s Breaker was opened?

  - Which device(s) subscribed to that GOOSE stream?

- Provide a screenshot of the GOOSE Viewer and the message contents captured in Step 3.

- Veiwing Recloser Automation:

  - Provide a screenshot of the Signal Flow and timeline after the recloser events were triggered in Step 5.

  - How many GOOSE message events were visible on the timeline from this process?